Architecture Diagrams

These C4 Architecture Diagrams have been generated as images for Pipeline Leak Risk Management Physical AI Platform. Here is what each diagram shows:

1. C4 Level 1 - System Context Diagram

Shows the entire platform in its business environment:

Users: Pipeline Operators, Executives, Maintenance Crews, PHMSA Auditors

External Systems: Nebius AI Cloud, SAP/Maximo, SCADA/PLCs, 1,000+ Edge Nodes, GIS Database

Protocols: MQTT over mTLS, HTTPS, Modbus TCP, REST API, PostGIS

2. C4 Level 2 - Container Diagram

Shows all technology building blocks across two layers:

Edge Layer: Sentinel Agent, Commander Agent, Operator Agent, Swarm Mesh, Federated Client

Cloud Layer: FastAPI, Streamlit, Risk Engine, Mitigation Planner, PostgreSQL, Mosquitto, Prometheus, Grafana

3. C4 Level 3 - Component Diagram

Zooms into the Edge Multi-Agent System internals:

Data Ingestion Layer (MQTT, Normalizer, PhysicsNeMo)

Agent 1: Perception (Sentinel Transformer, Buffer, Cosmos Context)

Agent 2: Reasoning (Commander, Safety Interlock - highlighted in red as DETERMINISTIC / NO AI)

Agent 3: Execution (Operator, Shadow Mode)

Swarm Intelligence (ZeroMQ Mesh, Cascade GNN)

4. C4 Level 4 - Code Flow / Sequence Diagram

Shows the exact step-by-step data flow for a Critical Event:

From sensor ingestion through Transformer inference

Through the Safety Interlock decision diamond (SAFE vs. OVERRIDE)

Down to Modbus SCADA commands and SAP work order generation

With timing annotations showing < 250ms total latency

5. How to Use These Diagrams

a) For technical documentation: Reference them in your docs/architecture/README.md file alongside the Mermaid source code (which I provided in the previous response) so developers can edit and regenerate them.

b) For PHMSA/IEC 61508 audits: The Level 3 diagram clearly shows the Safety Interlock is separated from the AI, which is exactly what auditors need to see.

These four diagrams, taken together, give any audience - from C-suite executives to safety engineers - a complete, intuitive understanding of your platform's architecture at the right level of detail.